
|  |  |  |  |
| --- | --- | --- | --- |
| C D  B  G  L F I  J  K A M M K  E H  **AQUEOUS FILM FORMING** | | | |
| **FOAM COLLECTION TANK** | |  | |
|  |  |
| [www.fgtsolutions.com](http://www.fgtsolutions.com/) Phone: 573-317-9620 | DATE:  8/17/2021 |
| MFG: 147 Opportunity Rd., Camdenton, MO 65020  Mailing: P.O. BOX 326, Montreal, MO 65591 | |



|  |  |  |  |
| --- | --- | --- | --- |
| BILL OF MATERIALS | | | |
| ITEM | DESCRIPTION | ITEM | DESCRIPTION |
| A | Ø30" MANWAY W/ STEEL COVER | H | FIBERGLASS DROP PIPE |
| B | Ø30" MANWAY EXTENSION W/ GASKET & HARDWARE | I | 8" FLANGE NOZZLE INLET |
| C | Ø42" H-20 RATED STEEL MANHOLE RING & COVER | J | 8" FLANGE X FLANGE FLEXIBLE CONNECTOR |
| D | Ø16" H-20 RATED STEEL MANHOLE RING & COVER | K | 4" HALF COUPLING, NPT |
| E | 16" WIDE FIBERGLASS LADDER | L | 4" VENT LINE |
| F | 16" WIDE FIBERGLASS LADDER EXTENSION | M | STEEL LIFTING LUGS |
| G | 4" PUMP OUT CONNECTION W/ CAM-LOCK QUICK CONNECT |  |  |